# Text boxes

Cable Tray

PDB

Ground Strip

Ground Braid

#10 cable

Cable Tray

Cable Tray

Cable Tray

PDB

Ground Strip

Ground Braid

#10 cable

PDB

Cable Tray

connected to Unistrut support*

Cable Tray

Cable Tray

Cable Tray

Cable Tray

connected to Unistrut support*

Ground Strip

2nd Diblock

PDB

PDB

PDB

Cable Tray

Cable Tray

Cable Tray

PDB

Ground Braid

Ground Strip

#10 cable

connected to the relay rack, which is NOT insulated from the catwalk

HV breakout box chassis

1st Diblock

outer shield

of the  HV

triax  cable

outer shield of the HV triax  cable

Cable Tray

outer shield of the HV triax  cable

PDB

Ground Braid

Ground Strip

Ground Braid

1k

PDB

Ground Braid

Cable Tray

Cable Tray

Ground Braid

Ground Strip

Ground Braid

#10 cable

1k

Cable Tray

Building Ground Busbar

Ground Strip

Ground Braid

#2/0 Ground Cable

#10 cable

Side of the Detector

3rd Diblock

Top of the Detector

Cable Tray

outer shield of the HV triax  cable

#10 cable

connected to Unistrut support*

Cable Tray

*All cable trays on the side of the detector are connected to the unistrut support. The Unistrut support is connected to the catwalk, which is connected to the Building Ground Busbar via a #2/0 ground cable.

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray

Cable Tray